## Sheet1
CFS Quote Request Form - Relay Based Pump Sets (Y) | [5 empty] | Date:
File out one for each pump set on project. No. 2 Fuel Oil Only (Diesel)
Representative / Distributor Company:
Salesperson Name:
Contact Phone Number:
Contact Email:
Job Name:
Job Location:
|  | 50 psi |  | 100 psi |  | 150 psi
Select Flow Rate (gph): |  | 40 |  | 35 |  | 30
|  | 80 |  | 77 |  | 75
Select only one, round up to the next size. |  | 155 |  | 150 |  | 145
|  | 215 |  | 205 |  | 200
|  | 300 |  | 280 |  | 270
|  | 400 |  | 370 |  | 350
|  | 610 |  | 575 |  | 550
|  | 760 |  | 700 |  | 650
|  | 1070 |  | 970 |  | 900
|  | 1220 |  | 1160 |  | 1110
|  | 1730 |  | 1640 |  | 1560
|  | 3050 |  | 2870 |  | 2740
Duplex Pump Set (2 pumps) |  |  |  | Simplex Pump Set (one pump)
Pump Set on Base Pan
Pump Set in enclosure
NEMA 12
NEMA 4
NEMA 4X
Pump Control: |  | Boiler Call for Oil #1 |  |  | Generator Call for Oil #1
|  | Boiler Call for Oil #2 |  |  | Generator Call for Oil #2
|  | Boiler Call for Oil #3 |  |  | Generator Call for Oil #3
|  | Boiler Call for Oil #4 |  |  | Generator Call for Oil #4
Manual Start / Stop
Electrical: | 120V |  |  | Check data sheet for availablity per size of pump.
208V
230V
460V/3 phase
Internal Relief Valve: |  |  |  | Releif valve is set at 10% above the pump discharge pressure selected above.
Extrenal Relief Valve:
Flexible Hose on the suction, discharge and external relief pipe connections, shipped loose
Base Pane Leak Switch: |  |  | Interlock with pump run
Discharge Flow Switch: |  |  |  | Used for alarming and lead/lag
Duplex Strainer: |  |  | Simplex Strainer:
(1 - on simplex pump set, qty 2 on duplex pump set)
DP Gauge and Switch across Strainer(s):
Pressure Gauges (standard one before pump(s) and one after each pump):
2.5"
4.5"
Gauge Snubbers
Gauge Shut off Cocks
Pump/Motor Isolation Pads
Back Pressure Regulating Valve on Loops
|  | Set pressure on BPRV: |  |  | psi
TEFC Motors
High Efficency Motors
Fused Disconnect Switches
Circuit Breakers
Lead Pump Selector Switch
Electric Pump Alternator Switch |  |  |  | Switch lead lag with each call for oil.
Lead Lag System |  |  | Loss of flow will switch to lag pump and shut off lead pump.
Lead Pump Alarm
Power Light (White)
Pump Run Lights (Green)
Pump Run Time Meters
Alarm Light and Horn |  |  |  | Alarm on leak, and pump loss of flow.
Motor Fuses
Rev: March 15, 2023