## Sheet1
CFS Quote Request Form - Filtration | [5 empty] | Date:
File out one for each Filtration on project. No. 2 Fuel Oil Only (Diesel). Enter X for your selection or option, a numeric value where needed. If anything is needed differently and/or additional please contact CFS. When completed email to info@criticalfuelsystems.com
Representative / Distributor Company:
Salesperson Name:
Contact Phone Number:
Contact Email:
Job Name:
Job Location:
Due Date:
|  | Enclosure |  | Skid |  | Heater Wattage
Flow Rate: | 400gph
610gph
760gph
1220gph
Enclosure Type: |  |  | NEMA 12
NEMA 4
NEMA 4X (SS)
Filter Options
Particulate Filter
|  | Micron: | 1 |  | Select the micron rating and enter the number of total filters. One supplied with the unit and the others shipped loose for spares.
5
10
15
25
Coalescing Filter
|  | Micron: | 1 |  | Select the micron rating and enter the number of total filters. One supplied with the unit and the others shipped loose for spares.
5
10
15
25
|  | Simplex Strainer: |  |  | 1/16" SS Basket is standard, consult factory for others.
Suction and Dischare Pressure Gauges: |  |  | 2.5 inch
4.5 inch
Sight Flow Indicator
Flow Switch
Waste Water Collection (5 gallon storage with high level cut off and drain valve).
DP Switch and gauge across filters and strainer (if selected) with cut off.
Basin Leak Detector
Inlet and Outlet Valves:
|  | Voltage: | 120VAC
208VAC
230VAC
460VAC
| Touchscree Size: |  | 7 inch
10 inch
| Control Panel Enclosure Type: |  |  |  | (NEMA 12, NEMA 4 or NEMA 4X (SS)
CF Number: To be completed by CFS | [5 empty] | Rev. 7/25/24